## Slide 1
top
bottom
CCM_0010 revC Floating H-bridge + analog isolator
CCM_0008 revB FET driver
CCM_0008 revB FET driver
CCM_0010 revC Floating H-bridge + analog isolator
CCM_0008 revB FET driver
Q0
INTERLOCK(S)
Top bypass control signal
Bottom bypass control signal
Notes:
All 3 CCM_0008 FET drivers are lab ground referenced, which is possible by using galvanically isolated CASR50 (bypass circuits) and LEM LF306-S current sensors
Anti-parallel FET pairs above h-bridge stages use the FET body diodes to provide (a) kickback protection and (b) biasing for bypass stages
Current can be monitored directly by measuring across the sense resistor at bottom of chain
Top bypass setpoint (FP)
Top bypass monitor (FP)
Top h-bridge direction control (FP)
Bottom bypass monitor (FP)
Bottom h-bridge direction control (FP)
Bottom bypass setpoint (FP)
Current monitor (FP)
Current control setpoint (FP)
Simplified schematic for transport coil control
36V
276A
0.01 ohms
100 W
Front panel
Q0 temp
External (fp)
Coil water
flow (rp)
FET water
flow
Q1
LEM LF306-S

## Slide 2
12V-AUX
5V
10k
490
LED
2N3906
1k
GND-AUX
OTP1/2
FAN-FAIL1/2
DC-OK1/2
AC-FAIL1/2
1k
12V-AUX
5V
490
LED
2N3906
RC+
GND-AUX
1k
10k
Interlock(s)